## NEA_ELS_Air_Conditioner_2026-05
COR Number | Brand | Model | Type | Green Ticks | Cooling Capacity (kW) | Full Load COP¹,² | Part Load COP¹,² | Weighted COP³ | Annual Energy Consumption (kWh)⁴,⁵ | Annual Energy Cost ($)⁴,⁶ | Date of Expiry
ELS-BTE-AC250081 | Bree | BRE010CA | Casement | 2 | 2.10 | 3.79 | N.A | N.A | 1618 | 437 | 12/06/2028
ELS-DAI-AC250118 | Daikin | RZFV71AVMG | Single Split | 5 | 6.90 | 4.52 | 6.26 | 5.56 | 2792 | 754 | 24/11/2028
ELS-DAI-AC250009 | Daikin | RKM35ZVMG | Single Split | 5 | 3.12 | 4.68 | 6.05 | 5.5 | 1232 | 333 | 30/01/2028
MELS-DAI-AC200075 | Daikin | RZF71CV1G | Single Split | 4 | 7.13 | 3.95 | 6.21 | 5.31 | 3183 | 859 | 18/11/2026
MELS-DAI-AC200042 | Daikin | MKM75VVMG | Multi Split | 5 | 6.15 | 5.61 | 6.50 | 6.14 | 2132 | 576 | 06/08/2026
ELS-DAI-AC250010 | Daikin | RKM25ZVMG | Single Split | 5 | 2.45 | 4.86 | 6.02 | 5.56 | 946 | 255 | 30/01/2028
MELS-DAI-AC200083 | Daikin | RZF100CV1G | Single Split | 4 | 9.08 | 3.78 | 5.64 | 4.9 | 4310 | 1164 | 18/11/2026
MELS-DAI-AC220076 | Daikin | RKM50XVMG | Single Split | 4 | 5.00 | 4.17 | 5.71 | 5.09 | 2190 | 591 | 12/12/2028
MELS-DAI-AC200043 | Daikin | MKP75VVMG | Multi Split | 5 | 6.15 | 5.61 | 6.50 | 6.14 | 2132 | 576 | 06/08/2026
ELS-DAI-AC260032 | Daikin | RSUA5AVMG | Single-phase VRF | 5 | 14.27 | 5.15 | 6.46 | 5.94 | 5390 | 1455 | 24/03/2029
MELS-DAI-AC220077 | Daikin | RKM35XVMG | Single Split | 4 | 3.54 | 3.95 | 5.51 | 4.89 | 1606 | 434 | 12/12/2028
MELS-DAI-AC150043 | Daikin | RKM25PVMG | Single Split | 5 | 2.51 | 5.04 | 5.93 | 5.57 | 958 | 259 | 23/03/2027
ELS-DAI-AC250074 | Daikin | RZF50DAVMG | Single Split | 4 | 4.48 | 4.11 | 5.60 | 5.0 | 2032 | 549 | 24/04/2028
MELS-DAI-AC210061 | Daikin | MKC70WVMG | Multi Split | 5 | 6.92 | 4.37 | 6.65 | 5.74 | 2821 | 762 | 29/09/2027
MELS-DAI-AC180067 | Daikin | RXMUQ4AVEG | Single-phase VRF | 5 | 11.16 | 5.37 | 6.02 | 5.76 | 4263 | 1151 | 28/09/2027
ELS-DAI-AC250078 | Daikin | RZF125DAVMG | Single Split | 4 | 9.14 | 4.05 | 5.40 | 4.86 | 4170 | 1126 | 06/05/2028
ELS-DAI-AC250067 | Daikin | RZF100DAVMG | Single Split | 4 | 8.66 | 3.95 | 5.59 | 4.93 | 4006 | 1082 | 13/04/2028
ELS-DAI-AC250017 | Daikin | RZF100DVMG | Single Split | 4 | 9.24 | 3.83 | 5.58 | 4.88 | 4357 | 1176 | 13/02/2028
ELS-DAI-AC250006 | Daikin | RKM60ZVMG | Single Split | 4 | 6.03 | 4.13 | 5.98 | 5.24 | 2593 | 700 | 27/01/2028
ELS-DAI-AC250075 | Daikin | RZF60DAVMG | Single Split | 4 | 5.25 | 4.10 | 5.85 | 5.15 | 2342 | 632 | 24/04/2028
MELS-DAI-AC200040 | Daikin | MKM50VVMG | Multi Split | 5 | 4.37 | 5.18 | 6.65 | 6.06 | 1553 | 419 | 06/08/2026
MELS-DAI-AC200039 | Daikin | MKM100VVMG | Multi Split | 5 | 8.58 | 4.91 | 6.35 | 5.77 | 3323 | 897 | 06/08/2026
MELS-DAI-AC200079 | Daikin | RZF60CV1G | Single Split | 4 | 6.00 | 4.36 | 6.74 | 5.79 | 2435 | 658 | 18/11/2026
ELS-DAI-AC250012 | Daikin | RKM71ZVMG | Single Split | 4 | 7.07 | 3.69 | 5.69 | 4.89 | 3323 | 897 | 02/02/2028
ELS-DAI-AC250015 | Daikin | RZF71DVMG | Single Split | 4 | 7.17 | 3.92 | 6.02 | 5.18 | 3200 | 864 | 12/02/2028
ELS-DAI-AC250066 | Daikin | RZF71DAVMG | Single Split | 4 | 6.51 | 4.08 | 6.01 | 5.24 | 2862 | 773 | 13/04/2028
ELS-DAI-AC250016 | Daikin | RZF50DVMG | Single Split | 4 | 5.02 | 5.05 | 6.72 | 6.05 | 1845 | 498 | 13/02/2028
ELS-DAI-AC250008 | Daikin | MKM100ZVMG | Multi Split | 5 | 8.62 | 5.25 | 6.33 | 5.9 | 3154 | 851 | 30/01/2028
MELS-DAI-AC210048 | Daikin | MKM75VVMG-HW | Multi Split | 5 | 6.00 | 5.45 | 6.39 | 6.01 | 2202 | 594 | 03/03/2027
MELS-DAI-AC150042 | Daikin | RKM35PVMG | Single Split | 4 | 3.57 | 4.08 | 5.55 | 4.96 | 1612 | 435 | 23/03/2027
MELS-DAI-AC200044 | Daikin | MKM85VVMG | Multi Split | 5 | 7.52 | 5.12 | 6.27 | 5.81 | 2809 | 758 | 06/08/2026
ELS-DAI-AC240070 | Daikin | MKM85ZVMG | Multi Split | 5 | 7.35 | 5.07 | 6.56 | 5.96 | 2716 | 733 | 15/12/2027
MELS-DAI-AC180070 | Daikin | RXMUQ6AVEG | Single-phase VRF | 5 | 15.38 | 4.91 | 6.20 | 5.68 | 6091 | 1645 | 28/09/2027
ELS-DAI-AC260031 | Daikin | RSUA4AVMG | Single-phase VRF | 5 | 10.99 | 5.52 | 6.91 | 6.35 | 3936 | 1063 | 22/03/2029
MELS-DAI-AC200041 | Daikin | MKP50VVMG | Multi Split | 5 | 4.37 | 5.18 | 6.65 | 6.06 | 1553 | 419 | 06/08/2026
ELS-DAI-AC250110 | Daikin | RZFV100AVMG | Single Split | 5 | 9.08 | 4.77 | 6.09 | 5.56 | 3568 | 963 | 06/11/2028
ELS-DAI-AC250077 | Daikin | RZF140DAVMG | Single Split | 4 | 9.48 | 4.00 | 5.44 | 4.86 | 4345 | 1173 | 29/04/2028
ELS-DAI-AC250014 | Daikin | RZF60DVMG | Single Split | 4 | 5.93 | 4.38 | 6.34 | 5.56 | 2429 | 656 | 11/02/2028
MELS-DAI-AC230001 | Daikin | RKM25XVMG | Single Split | 5 | 2.48 | 4.96 | 5.94 | 5.55 | 964 | 260 | 12/12/2028
ELS-DAI-AC240069 | Daikin | MKM75ZVMG | Multi Split | 5 | 6.07 | 5.53 | 6.49 | 6.11 | 2114 | 571 | 12/12/2027
MELS-DAI-AC200085 | Daikin | RZF50CV1G | Single Split | 4 | 5.08 | 4.77 | 6.39 | 5.74 | 1986 | 536 | 18/11/2026
ELS-DAI-AC240071 | Daikin | MKM50ZVMG | Multi Split | 5 | 4.15 | 5.33 | 6.46 | 6.01 | 1483 | 401 | 15/12/2027
ELS-DAI-AC250007 | Daikin | RKM50ZVMG | Single Split | 5 | 4.58 | 4.51 | 6.33 | 5.6 | 1816 | 490 | 30/01/2028
MELS-DAI-AC180069 | Daikin | RXMUQ5AVEG | Single-phase VRF | 5 | 13.84 | 5.02 | 5.90 | 5.55 | 5390 | 1455 | 28/09/2027
ELS-DAI-AC250021 | Daikin | RZF125DVMG | Single Split | 4 | 10.90 | 4.12 | 5.53 | 4.97 | 4906 | 1325 | 19/02/2028
MELS-DAI-AC200078 | Daikin | RZFC35EV1G | Single Split | 4 | 3.49 | 3.97 | 5.74 | 5.03 | 1606 | 434 | 18/11/2026
MELS-DAI-AC230002 | Daikin | RKM60XVMG | Single Split | 4 | 5.88 | 3.81 | 5.74 | 4.97 | 2727 | 736 | 12/12/2028
ELS-EIK-AC250046 | EIKOU | EIK-07Cl | Casement | 2 | 2.10 | 3.79 | N.A | N.A | 1618 | 437 | 02/04/2028
ELS-EIK-AC250133 | EIKOU | EIK-ACCA80 | Multi Split | 5 | 7.43 | 4.86 | 5.92 | 5.5 | 2984 | 806 | 25/12/2028
ELS-EIK-AC260001 | EIKOU | EIK-ACCA65 | Multi Split | 5 | 6.22 | 4.86 | 5.93 | 5.5 | 2517 | 680 | 01/01/2029
MELS-ENE-AC210036 | Enovatek Energy | EES-ADC12GW-XA-32R+5 | Single Split | 5 | 3.52 | 4.89 | 5.95 | 5.53 | 1384 | 374 | 10/05/2027
ELS-STR-AC250001 | EuropAce | EGAC10E6ION | Portable | 1 | 2.06 | 3.02 | N.A | N.A | 1986 | 536 | 02/01/2028
ELS-STR-AC250071 | EuropAce | EGAC14E3 | Portable | 1 | 4.00 | 3.01 | N.A | N.A | 3884 | 1049 | 21/04/2028
MELS-STR-AC220075 | EuropAce | EAC 801A | Casement | 2 | 2.19 | 3.90 | N.A | N.A | 1641 | 443 | 26/09/2028
ELS-STR-AC240026 | EuropAce | ESAC28CUD | Multi Split | 5 | 7.37 | 4.98 | 6.07 | 5.63 | 2803 | 757 | 14/03/2027
ELS-STR-AC240072 | EuropAce | EGAC10A6 | Portable | 1 | 2.06 | 3.02 | N.A | N.A | 1986 | 536 | 25/12/2027
ELS-STR-AC250107 | EuropAce | ESAC MA4R285A | Multi Split | 5 | 7.75 | 4.92 | 6.17 | 5.67 | 2996 | 809 | 28/09/2028
ELS-STR-AC250013 | EuropAce | EAC10EUV | Casement | 2 | 2.19 | 3.90 | N.A | N.A | 1641 | 443 | 06/02/2028
ELS-STR-AC250068 | EuropAce | EGAC10E7ION | Portable | 1 | 1.90 | 3.00 | N.A | N.A | 1840 | 497 | 15/04/2028
ELS-STR-AC250106 | EuropAce | ESAC MA3R215A | Multi Split | 5 | 5.68 | 5.12 | 5.82 | 5.54 | 2184 | 590 | 22/09/2028
ELS-STR-AC250003 | EuropAce | EAC8EUV | Casement | 2 | 1.69 | 3.79 | N.A | N.A | 1320 | 356 | 21/01/2028
ELS-STR-AC240041 | EuropAce | EAC601D | Casement | 2 | 1.69 | 3.79 | N.A | N.A | 1320 | 356 | 03/06/2027
ELS-STR-AC260023 | EuropAce | EGAC12D7F | Portable | 1 | 3.50 | 3.14 | N.A | N.A | 3300 | 891 | 08/03/2029
ELS-STR-AC250080 | EuropAce | EGAC12E3 | Portable | 1 | 3.40 | 3.00 | N.A | N.A | 3270 | 883 | 03/06/2028
ELS-STR-AC240035 | EuropAce | ESAC32CUD | Multi Split | 5 | 8.44 | 4.94 | 6.23 | 5.71 | 3253 | 878 | 27/03/2027
ELS-STR-AC240034 | EuropAce | ESAC18CUD | Multi Split | 5 | 6.30 | 4.88 | 6.01 | 5.56 | 2470 | 667 | 27/03/2027
ELS-STR-AC250073 | EuropAce | EGAC12E8UV | Portable | 2 | 3.43 | 3.27 | N.A | N.A | 3066 | 828 | 22/04/2028
ELS-STR-AC250045 | EuropAce | EGAC10E8UV | Portable | 2 | 2.53 | 3.26 | N.A | N.A | 2278 | 615 | 27/03/2028
ELS-STR-AC260024 | EuropAce | EGAC12E6ION | Portable | 1 | 2.70 | 3.01 | N.A | N.A | 2628 | 710 | 15/03/2029
ELS-STR-AC230028 | EuropAce | EAC 808B | Casement | 2 | 1.32 | 3.81 | N.A | N.A | 1028 | 278 | 19/10/2026
ELS-STR-AC240030 | EuropAce | ESAC21CUD | Multi Split | 5 | 6.30 | 4.88 | 6.01 | 5.56 | 2470 | 667 | 27/03/2027
ELS-WKL-AC230010 | EvoAir | W152 | Single Split | 4 | 4.62 | 4.97 | N.A | N.A | 2727 | 736 | 14/05/2026
ELS-CHO-AC250058 | FUJITECH | FW-13IVT | Window | 2 | 2.37 | 3.86 | N.A | N.A | 1793 | 484 | 09/04/2028
MELS-CHO-AC220048 | FUJITECH | FW-08IVT | Window | 2 | 2.30 | 3.85 | N.A | N.A | 1758 | 475 | 26/05/2028
ELS-CHO-AC230027 | FUJITECH | TWT-K09G | Casement | 2 | 2.06 | 3.81 | N.A | N.A | 1612 | 435 | 19/09/2026
MELS-CHO-AC230004 | FUJITECH | NCB-07CI | Casement | 2 | 2.10 | 3.80 | N.A | N.A | 1618 | 437 | 27/12/2028
ELS-CHO-AC230026 | FUJITECH | FW-12IVT | Window | 2 | 3.08 | 3.80 | N.A | N.A | 2377 | 642 | 14/09/2026
MELS-WIN-AC220059 | Fujitsu | AOAG18CMTA | Single Split | 4 | 5.29 | 4.76 | 6.46 | 5.78 | 2102 | 568 | 11/07/2028
MELS-WIN-AC220033 | Fujitsu | AOAH24CBTA | Single Split | 5 | 7.26 | 4.98 | 6.75 | 6.04 | 2657 | 717 | 25/04/2028
MELS-WIN-AC220055 | Fujitsu | AOAH24CBTA3 | Multi Split | 5 | 6.17 | 5.44 | 6.74 | 6.22 | 2132 | 576 | 11/07/2028
MELS-WIN-AC220028 | Fujitsu | AOAH36CBTA | Single Split | 5 | 10.21 | 5.00 | 6.67 | 6.0 | 3720 | 1004 | 25/04/2028
MELS-WIN-AC220052 | Fujitsu | AOAG30CMTA | Single Split | 4 | 7.38 | 4.47 | 5.85 | 5.3 | 3101 | 837 | 11/07/2028
MELS-WIN-AC220056 | Fujitsu | AOAH30CBTA4 | Multi Split | 5 | 7.68 | 5.15 | 6.31 | 5.85 | 2809 | 758 | 11/07/2028
MELS-WIN-AC220051 | Fujitsu | AOAG24CMTA | Single Split | 4 | 6.20 | 4.73 | 6.48 | 5.78 | 2459 | 664 | 11/07/2028
MELS-WIN-AC220061 | Fujitsu | AOAG12CMTA | Single Split | 5 | 3.59 | 5.04 | 6.48 | 5.9 | 1326 | 358 | 11/07/2028
MELS-WIN-AC220063 | Fujitsu | AOAG09CMTA | Single Split | 5 | 2.87 | 5.44 | 6.84 | 6.28 | 993 | 268 | 11/07/2028
MELS-SGR-AC220014 | GREE | GWCD(21)NK6AO | Multi Split | 5 | 6.30 | 4.88 | 6.01 | 5.56 | 2459 | 664 | 01/12/2027
ELS-SGR-AC230013 | GREE | GULD30W/NhB-K(P) | Single Split | 4 | 8.72 | 3.89 | 6.21 | 5.28 | 3895 | 1052 | 06/06/2026
ELS-GAS-AC250103 | GREE | GWC-09SP/O | Single Split | 5 | 2.62 | 5.06 | 6.20 | 5.74 | 1004 | 271 | 04/09/2028
ELS-GAS-AC250031 | GREE | GWC-09Charmo/O | Single Split | 5 | 2.65 | 5.22 | 6.56 | 6.02 | 969 | 262 | 13/03/2028
ELS-GAS-AC250105 | GREE | GWC-12SP/O | Single Split | 5 | 3.43 | 4.92 | 6.03 | 5.59 | 1332 | 360 | 18/09/2028
MELS-SGR-AC220018 | GREE | GWCD(28)NK6AO | Multi Split | 5 | 7.37 | 4.98 | 6.07 | 5.63 | 2803 | 757 | 18/01/2028
ELS-GAS-AC250102 | GREE | GWC-18SP/O | Single Split | 4 | 4.91 | 4.40 | 5.43 | 5.02 | 2132 | 576 | 31/08/2028
ELS-GAS-AC250109 | GREE | GWC-24Charmo/O | Single Split | 4 | 6.55 | 4.57 | 6.01 | 5.43 | 2663 | 719 | 23/10/2028
ELS-GAS-AC250032 | GREE | GWC-12Charmo/O | Single Split | 5 | 3.48 | 4.99 | 6.39 | 5.83 | 1302 | 352 | 13/03/2028
ELS-GAS-AC250038 | GREE | GWCD-MS21/O | Multi Split | 5 | 6.16 | 4.87 | 6.32 | 5.74 | 2418 | 653 | 20/03/2028
ELS-GAS-AC250034 | GREE | GWC-18Charmo/O | Single Split | 4 | 5.45 | 4.67 | 6.16 | 5.56 | 2149 | 580 | 16/03/2028
ELS-SGR-AC240027 | GREE | GWC18ATEXF-K6DNA3B/O | Single Split | 4 | 5.45 | 4.67 | 6.16 | 5.56 | 2149 | 580 | 17/03/2027
ELS-GAS-AC250037 | GREE | GWCD-MS28/O | Multi Split | 5 | 7.15 | 5.07 | 6.12 | 5.7 | 2721 | 735 | 20/03/2028
ELS-GAS-AC250070 | GREE | GMVL-140WL/A-K(P) | Single-phase VRF | 5 | 13.76 | 4.90 | 6.09 | 5.61 | 5589 | 1509 | 21/04/2028
ELS-GAS-AC250072 | GREE | GMVL-120WL/A-K(P) | Single-phase VRF | 5 | 12.00 | 4.95 | 5.95 | 5.55 | 4958 | 1339 | 22/04/2028
ELS-SGR-AC230031 | GREE | GWC12ATDXE-K6DNA3A/O | Single Split | 5 | 3.47 | 4.99 | 6.39 | 5.83 | 1285 | 347 | 27/11/2026
ELS-GAS-AC250088 | GREE | GMVL-120K1D | Single-phase VRF | 5 | 12.00 | 4.95 | 5.95 | 5.55 | 4958 | 1339 | 30/06/2028
ELS-GAS-AC250089 | GREE | GMVL-160K1D | Single-phase VRF | 5 | 15.86 | 4.88 | 5.92 | 5.5 | 6424 | 1734 | 01/07/2028
ELS-SGR-AC240028 | GREE | GWC09ATDXD-K6DNA3A/O | Single Split | 5 | 2.65 | 5.22 | 6.56 | 6.02 | 969 | 262 | 17/03/2027
ELS-GAS-AC250040 | GREE | GWCD-MS32/O | Multi Split | 5 | 8.51 | 5.06 | 6.04 | 5.65 | 3235 | 874 | 20/03/2028
ELS-GAS-AC250036 | GREE | GWCD-MS18/O | Multi Split | 5 | 5.16 | 4.92 | 6.28 | 5.74 | 1986 | 536 | 18/03/2028
ELS-GAS-AC250087 | GREE | GMVL-140K1D | Single-phase VRF | 5 | 13.76 | 4.90 | 6.09 | 5.61 | 5589 | 1509 | 29/06/2028
ELS-SGR-AC230012 | GREE | GWCD(28)NK6GO | Multi Split | 5 | 7.55 | 5.21 | 5.88 | 5.61 | 2920 | 788 | 15/05/2026
MELS-SGR-AC220015 | GREE | GWCD(18)NK6AO | Multi Split | 5 | 5.39 | 4.97 | 6.50 | 5.89 | 2026 | 547 | 25/11/2027
ELS-SGR-AC230032 | GREE | GWCD(32)NK6AO | Multi Split | 5 | 8.44 | 4.94 | 6.23 | 5.71 | 3253 | 878 | 03/12/2026
ELS-GAS-AC250076 | GREE | GMVL-160WL/A-K(P) | Single-phase VRF | 5 | 15.86 | 4.88 | 5.92 | 5.5 | 6424 | 1734 | 24/04/2028
ELS-SGR-AC230011 | GREE | GWCD(18)NK6GO | Multi Split | 5 | 5.22 | 5.29 | 5.82 | 5.61 | 2009 | 542 | 14/05/2026
MELS-SBR-AC210016 | Haier | 4U80SH1SRA | Multi Split | 5 | 7.43 | 4.86 | 5.92 | 5.5 | 2984 | 806 | 07/02/2027
MELS-SBR-AC210017 | Haier | 4U65RH1SRA | Multi Split | 5 | 6.22 | 4.86 | 5.93 | 5.5 | 2517 | 680 | 07/02/2027
MELS-SBR-AC210015 | Haier | 5U90NH1SRA | Multi Split | 5 | 8.52 | 4.86 | 5.92 | 5.5 | 3422 | 924 | 07/02/2027
ELS-HES-AC260021 | Hisense | AUW-90U4RJ8 | Single Split | 4 | 5.38 | 4.22 | 5.79 | 5.16 | 2313 | 624 | 19/02/2029
ELS-HES-AC250020 | Hisense | AMW100TERJ | Multi Split | 5 | 5.65 | 5.37 | 6.12 | 5.82 | 2114 | 571 | 19/02/2028
ELS-HES-AC250019 | Hisense | AMW90TERJ | Multi Split | 5 | 5.35 | 5.17 | 6.48 | 5.96 | 1980 | 535 | 18/02/2028
ELS-HES-AC260020 | Hisense | AUW-180U4RW8 | Single Split | 4 | 10.52 | 4.33 | 5.43 | 4.99 | 4567 | 1233 | 18/02/2029
ELS-HES-AC250029 | Hisense | AMW120TERJ | Multi Split | 5 | 6.34 | 4.95 | 6.35 | 5.79 | 2470 | 667 | 09/03/2028
ELS-HES-AC260025 | Hisense | AUW-120U4RW8 | Single Split | 4 | 7.02 | 4.66 | 5.54 | 5.19 | 2961 | 799 | 16/03/2029
ELS-HES-AC250022 | Hisense | AMW70TERJ | Multi Split | 5 | 4.21 | 5.71 | 6.04 | 5.91 | 1524 | 412 | 20/02/2028
ELS-HES-AC250002 | Hisense | AMW150TERQ | Multi Split | 5 | 8.80 | 5.08 | 6.49 | 5.93 | 3364 | 908 | 12/01/2028
MELS-JOH-AC210030 | Hitachi | RAC-GJ13CMS | Single Split | 4 | 3.65 | 4.23 | 5.83 | 5.19 | 1559 | 421 | 13/04/2027
MELS-JOH-AC210026 | Hitachi | RAC-GJ18CMS | Single Split | 4 | 5.29 | 3.89 | 5.88 | 5.08 | 2354 | 635 | 20/04/2027
MELS-JOH-AC210032 | Hitachi | RAM-Z23C2MS | Multi Split | 5 | 4.99 | 4.97 | 6.41 | 5.83 | 1880 | 508 | 21/04/2027
MELS-JOH-AC210031 | Hitachi | RAM-Z30C3MS | Multi Split | 5 | 6.27 | 4.93 | 6.10 | 5.63 | 2394 | 646 | 19/04/2027
ELS-JOH-AC240043 | Hitachi | PAS-3.0UFASNQ1 | Single Split | 4 | 7.07 | 3.93 | 5.77 | 5.03 | 3241 | 875 | 27/06/2027
ELS-JOH-AC240045 | Hitachi | PAS-5.0UFASNQ1 | Single Split | 4 | 11.86 | 4.05 | 5.44 | 4.88 | 5437 | 1468 | 30/06/2027
MELS-JOH-AC210033 | Hitachi | RAM-Z38C4MS | Multi Split | 5 | 7.71 | 5.15 | 6.33 | 5.86 | 2821 | 762 | 09/05/2027
MELS-JOH-AC210023 | Hitachi | RAC-GJ24CMS | Single Split | 4 | 6.53 | 3.90 | 6.00 | 5.16 | 2920 | 788 | 29/03/2027
ELS-JOH-AC240046 | Hitachi | PAS-4.0UFASNQ1 | Single Split | 4 | 9.32 | 4.30 | 5.34 | 4.92 | 4146 | 1120 | 30/06/2027
ELS-JOH-AC240044 | Hitachi | PAS-2.0UFASNQ1 | Single Split | 4 | 5.04 | 4.85 | 6.80 | 6.02 | 1916 | 517 | 27/06/2027
ELS-EVE-AC240042 | iFan | IF9010A | Portable | 1 | 2.87 | 3.00 | N.A | N.A | 2803 | 757 | 03/06/2027
MELS-LGE-AC220047 | LG | Z4UQ28GFA0 | Multi Split | 5 | 7.51 | 5.38 | 5.98 | 5.74 | 2786 | 752 | 03/07/2028
ELS-LGE-AC250082 | LG | S3UZ091L1DA | Single Split | 5 | 2.89 | 5.06 | 6.04 | 5.65 | 1092 | 295 | 15/06/2028
MELS-LGE-AC220058 | LG | ZUUQ21GH0 | Single Split | 4 | 6.38 | 4.31 | 5.56 | 5.06 | 2721 | 735 | 11/07/2028
ELS-LGE-AC250092 | LG | Z3UQ28GFA1 | Multi Split | 5 | 6.91 | 4.95 | 6.76 | 6.04 | 2564 | 692 | 13/07/2028
MELS-LGE-AC220064 | LG | ZUUQ18GH0 | Single Split | 4 | 5.48 | 4.33 | 5.57 | 5.07 | 2324 | 628 | 11/07/2028
MELS-LGE-AC170044 | LG | S3UQ12JL1PA | Single Split | 4 | 3.61 | 4.06 | 5.47 | 4.91 | 1624 | 438 | 18/09/2026
MELS-LGE-AC220057 | LG | ZUUQ32GH0 | Single Split | 4 | 8.79 | 4.35 | 5.49 | 5.03 | 3796 | 1025 | 11/07/2028
MELS-LGE-AC220049 | LG | Z3UQ26GFA0 | Multi Split | 5 | 6.46 | 5.21 | 6.27 | 5.85 | 2389 | 645 | 03/07/2028
ELS-LGE-AC250079 | LG | S3UZ121L1DA | Single Split | 5 | 3.42 | 4.70 | 6.11 | 5.55 | 1367 | 369 | 22/05/2028
ELS-LGE-AC250090 | LG | Z4UQ34GFA1 | Multi Split | 5 | 7.91 | 5.05 | 7.19 | 6.33 | 2827 | 763 | 10/07/2028
MELS-LGE-AC220062 | LG | Z3UQ18GFA0 | Multi Split | 5 | 5.21 | 5.03 | 6.44 | 5.88 | 1956 | 528 | 03/07/2028
ELS-LGE-AC250091 | LG | Z2UQ18GFA1 | Multi Split | 5 | 4.58 | 5.08 | 6.77 | 6.09 | 1676 | 453 | 13/07/2028
ELS-MSP-AC250115 | Midea | MEZ-4M32E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 16/11/2028
MELS-MDS-AC210059 | Midea | MAE-4M30E | Multi Split | 5 | 7.67 | 5.03 | 6.22 | 5.74 | 2908 | 785 | 14/09/2027
ELS-MSP-AC260002 | Midea | MWAC-09PRO | Window | 2 | 2.30 | 3.85 | N.A | N.A | 1758 | 475 | 01/01/2029
ELS-MDS-AC240014 | Midea | MDV-V28WDHN1(SG) | Single-phase VRF | 5 | 8.07 | 5.44 | 6.49 | 6.07 | 2938 | 793 | 21/02/2027
ELS-MSP-AC260026 | Midea | MGP-1S09E | Single Split | 5 | 2.74 | 4.41 | 6.27 | 5.53 | 1121 | 303 | 17/03/2029
ELS-MSP-AC260010 | Midea | MABOD-18E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1880 | 508 | 18/01/2029
ELS-MSP-AC260029 | Midea | MGP-1S24D | Single Split | 4 | 7.12 | 3.79 | 5.80 | 5.0 | 3288 | 888 | 19/03/2029
MELS-MDS-AC210066 | Midea | MAS-1S09E | Single Split | 5 | 2.90 | 4.94 | 6.83 | 6.07 | 1098 | 296 | 16/11/2027
ELS-MSP-AC260017 | Midea | MCE-4M32E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 03/02/2029
ELS-MSP-AC250124 | Midea | MGP-2M21E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 08/12/2028
ELS-MSP-AC250122 | Midea | MWAC-12PRO | Window | 2 | 2.36 | 3.86 | N.A | N.A | 1793 | 484 | 30/11/2028
MELS-MID-AC200038 | Midea | MSEOD-12 | Single Split | 4 | 3.46 | 4.11 | 5.77 | 5.11 | 1548 | 418 | 06/07/2026
ELS-MDS-AC240003 | Midea | M4OA-28CRFN8E | Multi Split | 5 | 6.52 | 4.93 | 5.91 | 5.52 | 2570 | 694 | 21/01/2027
ELS-MSP-AC250108 | Midea | MWAC-14PRO | Window | 2 | 4.30 | 4.22 | N.A | N.A | 2955 | 798 | 23/10/2028
ELS-MDS-AC250083 | Midea | MGP-2M21E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 22/06/2028
ELS-MDS-AC240020 | Midea | MDV-V36WDHN1(SG) | Single-phase VRF | 5 | 9.97 | 4.93 | 6.78 | 6.04 | 3814 | 1030 | 03/03/2027
ELS-MDS-AC240040 | Midea | MWAC-12PRO | Window | 2 | 2.36 | 3.86 | N.A | N.A | 1793 | 484 | 02/06/2027
ELS-MSP-AC260005 | Midea | MABOD-24E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 12/01/2029
ELS-MDS-AC230022 | Midea | MWAC-14PRO | Window | 2 | 4.27 | 4.22 | N.A | N.A | 2955 | 798 | 01/08/2026
ELS-MDS-AC230020 | Midea | MKC-4M27E | Multi Split | 5 | 7.75 | 4.92 | 6.17 | 5.67 | 2996 | 809 | 23/07/2026
ELS-MDS-AC230023 | Midea | MKC-2M15E | Multi Split | 5 | 4.81 | 4.93 | 6.05 | 5.6 | 1845 | 498 | 10/08/2026
ELS-MSP-AC250116 | Midea | MEZ-3M28E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 16/11/2028
ELS-MSP-AC260012 | Midea | MPOD-12E | Single Split | 5 | 3.45 | 4.32 | 6.37 | 5.55 | 1413 | 382 | 18/01/2029
ELS-MDS-AC240012 | Midea | MDV-V42WDHN1(SG) | Single-phase VRF | 5 | 12.11 | 4.56 | 6.42 | 5.68 | 4882 | 1318 | 04/02/2027
ELS-MDS-AC240062 | Midea | MEZ-4M32E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 25/11/2027
ELS-MSP-AC260033 | Midea | MEZ-1S09E | Single Split | 5 | 2.74 | 4.41 | 6.27 | 5.53 | 1121 | 303 | 24/03/2029
ELS-MDS-AC250085 | Midea | MEZ-2M21E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 29/06/2028
ELS-MSP-AC250114 | Midea | MDV-V42WDHN1(SG2) | Single-phase VRF | 5 | 12.02 | 4.88 | 6.05 | 5.58 | 4748 | 1282 | 11/11/2028
ELS-MDS-AC250049 | Midea | MPOD-12E | Single Split | 5 | 3.45 | 4.32 | 6.37 | 5.55 | 1413 | 382 | 06/04/2028
ELS-MDS-AC250064 | Midea | MPOD-24D | Single Split | 4 | 7.25 | 3.78 | 5.78 | 4.98 | 3311 | 894 | 13/04/2028
ELS-MSP-AC260003 | Midea | MPOD-09E | Single Split | 5 | 2.92 | 4.61 | 6.48 | 5.73 | 1127 | 304 | 11/01/2029
ELS-MDS-AC240063 | Midea | MEZ-3M28E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 25/11/2027
ELS-MDS-AC250026 | Midea | MOU32-HVN32E(SG) | Multi Split | 5 | 9.32 | 4.90 | 5.93 | 5.52 | 3679 | 993 | 06/03/2028
ELS-MDS-AC240067 | Midea | MDV-V42WDHN1(SG2) | Single-phase VRF | 5 | 12.02 | 4.88 | 6.05 | 5.58 | 4748 | 1282 | 04/12/2027
ELS-MSP-AC250121 | Midea | MDV-V28WDHN1(SG) | Single-phase VRF | 5 | 8.07 | 5.44 | 6.49 | 6.07 | 2938 | 793 | 27/11/2028
ELS-MSP-AC250117 | Midea | MGP-4M32E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 18/11/2028
ELS-MDS-AC250063 | Midea | MPOD-18D | Single Split | 4 | 5.48 | 4.23 | 5.65 | 5.08 | 2348 | 634 | 13/04/2028
ELS-MDS-AC240060 | Midea | MAS-1S12D | Single Split | 5 | 3.59 | 4.47 | 6.18 | 5.5 | 1466 | 396 | 21/11/2027
ELS-MSP-AC250113 | Midea | MDV-V56WDHN1(SG2) | Single-phase VRF | 5 | 15.14 | 4.92 | 6.01 | 5.57 | 5992 | 1618 | 11/11/2028
ELS-MDS-AC230006 | Midea | MCE-4M28E | Multi Split | 5 | 7.67 | 5.03 | 6.22 | 5.74 | 2908 | 785 | 12/03/2029
ELS-MSP-AC260016 | Midea | MCE-3M28E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 29/01/2029
ELS-MSP-AC250112 | Midea | MDV-V48WDHN1(SG2) | Single-phase VRF | 5 | 13.31 | 4.87 | 6.13 | 5.63 | 5274 | 1424 | 11/11/2028
MELS-MDS-AC220060 | Midea | MWAC-09PRO | Window | 2 | 2.30 | 3.85 | N.A | N.A | 1758 | 475 | 03/07/2028
ELS-MSP-AC250125 | Midea | MEZ-2M21E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 09/12/2028
ELS-MDS-AC240002 | Midea | M4OA-32CRFN8E | Multi Split | 5 | 7.58 | 4.92 | 6.00 | 5.57 | 2949 | 796 | 21/01/2027
ELS-MDS-AC230016 | Midea | MKC-3M22E | Multi Split | 5 | 5.68 | 5.10 | 5.82 | 5.53 | 2172 | 587 | 16/07/2026
ELS-MSP-AC260028 | Midea | MGP-1S18D | Single Split | 4 | 4.62 | 4.13 | 5.45 | 4.92 | 2015 | 544 | 17/03/2029
ELS-MDS-AC230025 | Midea | MCE-2M16E | Multi Split | 5 | 4.81 | 4.93 | 6.05 | 5.6 | 1845 | 498 | 24/08/2026
ELS-MDS-AC250086 | Midea | MGP-5M42E | Multi Split | 5 | 8.86 | 5.04 | 5.93 | 5.57 | 3376 | 911 | 29/06/2028
ELS-MSP-AC260009 | Midea | MABOD-12E | Single Split | 5 | 3.45 | 4.32 | 6.37 | 5.55 | 1413 | 382 | 18/01/2029
ELS-MSP-AC260030 | Midea | MEZ-1S12E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 19/03/2029
MELS-MID-AC200035 | Midea | MSEOD-09 | Single Split | 4 | 2.65 | 4.78 | 5.66 | 5.31 | 1086 | 293 | 06/07/2026
ELS-MSP-AC260034 | Midea | MEZ-1S18E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 01/04/2029
MELS-MDS-AC210067 | Midea | MPAG-1S12D | Single Split | 4 | 3.59 | 4.55 | 5.86 | 5.34 | 1454 | 393 | 10/11/2027
ELS-MDS-AC250025 | Midea | MOU36-HVN32E(SG) | Multi Split | 5 | 9.32 | 4.90 | 5.93 | 5.52 | 3679 | 993 | 04/03/2028
ELS-MSP-AC260006 | Midea | MABOD-09E | Single Split | 5 | 2.83 | 4.63 | 6.48 | 5.74 | 1104 | 298 | 14/01/2029
ELS-MSP-AC250123 | Midea | MGP-3M28E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 03/12/2028
ELS-MSP-AC250120 | Midea | MDV-V36WDHN1(SG) | Single-phase VRF | 5 | 9.97 | 4.93 | 6.78 | 6.04 | 3814 | 1030 | 26/11/2028
ELS-MDS-AC250051 | Midea | MABOD-18E | Multi Split | 5 | 4.81 | 4.93 | 6.05 | 5.6 | 1845 | 498 | 06/04/2028
ELS-MDS-AC240068 | Midea | MDV-V48WDHN1(SG2) | Single-phase VRF | 5 | 13.31 | 4.87 | 6.13 | 5.63 | 5274 | 1424 | 08/12/2027
ELS-MDS-AC240061 | Midea | MGP-4M32E | Multi Split | 5 | 7.23 | 4.74 | 6.22 | 5.63 | 2885 | 779 | 25/11/2027
MELS-MDS-AC210057 | Midea | MAE-3M25E | Multi Split | 5 | 5.68 | 5.12 | 5.82 | 5.54 | 2184 | 590 | 14/09/2027
ELS-MDS-AC250047 | Midea | MABOD-24E | Multi Split | 5 | 5.96 | 5.30 | 6.00 | 5.72 | 2243 | 605 | 02/04/2028
ELS-MSP-AC250127 | Midea | MGP-5M42E | Multi Split | 5 | 8.86 | 5.04 | 5.93 | 5.57 | 3376 | 911 | 18/12/2028
ELS-MSP-AC260013 | Midea | MOU36-HVN32E(SG) | Multi Split | 5 | 9.32 | 4.90 | 5.93 | 5.52 | 3679 | 993 | 18/01/2029
ELS-MSP-AC260015 | Midea | MPPD-11CRN7-A9 | Portable | 1 | 2.91 | 3.11 | N.A | N.A | 2745 | 741 | 28/01/2029
ELS-MDS-AC240005 | Midea | M5OA-40CRFN8E | Multi Split | 5 | 9.32 | 4.90 | 5.93 | 5.52 | 3679 | 993 | 24/01/2027
ELS-MDS-AC250069 | Midea | MABOD-09E | Single Split | 5 | 2.83 | 4.63 | 6.48 | 5.74 | 1104 | 298 | 15/04/2028
ELS-MSP-AC260019 | Midea | MCE-2M21E | Multi Split | 5 | 4.81 | 4.76 | 6.08 | 5.55 | 1886 | 509 | 09/02/2029
ELS-MDS-AC230024 | Midea | MAE-2M18E | Multi Split | 5 | 4.81 | 4.93 | 6.05 | 5.6 | 1845 | 498 | 20/08/2026
ELS-MDS-AC250048 | Midea | MPOD-09E | Single Split | 5 | 2.92 | 4.61 | 6.48 | 5.73 | 1127 | 304 | 06/04/2028
ELS-MSP-AC250126 | Midea | MEZ-5M42E | Multi Split | 5 | 8.86 | 5.04 | 5.93 | 5.57 | 3376 | 911 | 18/12/2028
ELS-MSP-AC260014 | Midea | MPPD-09CRN7-A | Portable | 2 | 2.38 | 3.50 | N.A | N.A | 1986 | 536 | 21/01/2029
ELS-MDS-AC240064 | Midea | MGP-3M28E | Multi Split | 5 | 6.64 | 5.13 | 6.54 | 5.98 | 2476 | 669 | 26/11/2027
ELS-MSP-AC260027 | Midea | MGP-1S12D | Single Split | 4 | 3.52 | 3.95 | 6.16 | 5.28 | 1542 | 416 | 17/03/2029
ELS-MSP-AC260004 | Midea | MOU24-HVN32E(SG) | Multi Split | 5 | 6.97 | 5.32 | 5.95 | 5.7 | 2581 | 697 | 11/01/2029
ELS-MSP-AC260007 | Midea | MOU32-HVN32E(SG) | Multi Split | 5 | 9.32 | 4.90 | 5.93 | 5.52 | 3697 | 998 | 14/01/2029
ELS-MDS-AC240066 | Midea | MDV-V56WDHN1(SG2) | Single-phase VRF | 5 | 15.14 | 4.92 | 6.01 | 5.57 | 5992 | 1618 | 03/12/2027
ELS-MDS-AC250023 | Midea | MPPD-09CRN7-A | Portable | 2 | 2.38 | 3.50 | N.A | N.A | 1986 | 536 | 26/02/2028
ELS-MDS-AC250056 | Midea | MABOD-12E | Single Split | 5 | 3.45 | 4.32 | 6.37 | 5.55 | 1413 | 382 | 08/04/2028
ELS-MSP-AC260011 | Midea | MPOD-18D | Single Split | 4 | 5.48 | 4.23 | 5.65 | 5.08 | 2348 | 634 | 18/01/2029
ELS-MDS-AC250024 | Midea | MPPT-12CRFN7-A | Portable | 2 | 2.99 | 3.27 | N.A | N.A | 2657 | 717 | 04/03/2028
ELS-MDS-AC250018 | Midea | MOU24-HVN32E(SG) | Multi Split | 5 | 6.97 | 5.32 | 6.00 | 5.73 | 2634 | 711 | 13/02/2028
ELS-MDS-AC250084 | Midea | MEZ-5M42E | Multi Split | 5 | 8.86 | 5.04 | 5.93 | 5.57 | 3376 | 911 | 22/06/2028
ELS-MSP-AC260008 | Midea | MPOD-24D | Single Split | 4 | 7.25 | 3.78 | 5.78 | 4.98 | 3311 | 894 | 14/01/2029
MELS-MIT-AC190010 | Mitsubishi Electric | MXY-2H20VF | Multi Split | 5 | 4.51 | 5.01 | 6.67 | 6.01 | 1664 | 449 | 27/03/2028
ELS-MIT-AC260018 | Mitsubishi Electric | MUY-GA10VF | Single Split | 5 | 2.63 | 5.20 | 6.31 | 5.87 | 987 | 266 | 08/02/2029
MELS-MIT-AC180025 | Mitsubishi Electric | MUY-GP18VF | Single Split | 4 | 4.84 | 4.44 | 5.57 | 5.12 | 2050 | 553 | 25/06/2027
MELS-MIT-AC220078 | Mitsubishi Electric | MXY-4H33VG2 | Multi Split | 5 | 6.88 | 4.89 | 6.65 | 5.95 | 2570 | 694 | 26/12/2028
MELS-MIT-AC230005 | Mitsubishi Electric | MXY-3H28VG2 | Multi Split | 5 | 6.45 | 4.86 | 6.87 | 6.07 | 2389 | 645 | 16/01/2029
ELS-MIT-AC240056 | Mitsubishi Electric | PUY-M100VKA3-SG | Single Split | 4 | 9.77 | 4.40 | 5.68 | 5.17 | 4117 | 1112 | 03/10/2027
MELS-MIT-AC220005 | Mitsubishi Electric | SUY-ZM50VA-SG | Single Split | 5 | 5.11 | 4.97 | 6.67 | 5.99 | 1910 | 516 | 18/01/2028
ELS-MIT-AC240039 | Mitsubishi Electric | MUY-GP24VF2 | Single Split | 4 | 6.42 | 4.44 | 5.78 | 5.24 | 2681 | 724 | 28/05/2027
ELS-MIT-AC250052 | Mitsubishi Electric | PUY-M125VDA-SG | Single Split | 4 | 10.57 | 4.31 | 5.31 | 4.91 | 4678 | 1263 | 06/04/2028
MELS-MIT-AC220004 | Mitsubishi Electric | SUY-M80VA-SG | Single Split | 4 | 7.65 | 4.37 | 6.12 | 5.42 | 3177 | 858 | 18/01/2028
MELS-MIT-AC190019 | Mitsubishi Electric | MXY-5H48VG | Multi Split | 5 | 9.10 | 4.87 | 6.87 | 6.07 | 3399 | 918 | 14/04/2028
MELS-MIT-AC190045 | Mitsubishi Electric | MXY-6C53VAM | Single-phase VRF | 5 | 11.27 | 4.91 | 6.10 | 5.62 | 4596 | 1241 | 14/11/2028
MELS-MIT-AC180027 | Mitsubishi Electric | MUY-GP13VF | Single Split | 4 | 3.73 | 4.59 | 5.16 | 4.93 | 1548 | 418 | 25/06/2027
MELS-MIT-AC190017 | Mitsubishi Electric | MXY-4H33VG | Multi Split | 5 | 6.93 | 4.86 | 6.36 | 5.76 | 2646 | 714 | 27/03/2028
MELS-MIT-AC190008 | Mitsubishi Electric | MXY-4H38VG | Multi Split | 5 | 8.05 | 4.97 | 7.01 | 6.19 | 2926 | 790 | 06/03/2028
MELS-MIT-AC180023 | Mitsubishi Electric | MUY-GP10VF | Single Split | 5 | 2.62 | 5.21 | 6.55 | 6.01 | 958 | 259 | 25/06/2027
MELS-MIT-AC190018 | Mitsubishi Electric | MXY-3H28VG, MXY-3H28VG-SG2 | Multi Split | 5 | 6.56 | 4.89 | 6.82 | 6.05 | 2418 | 653 | 27/03/2028
MELS-MIT-AC220006 | Mitsubishi Electric | SUY-M60VA-SG | Single Split | 4 | 6.11 | 4.47 | 6.52 | 5.7 | 2453 | 662 | 18/01/2028
MELS-MIT-AC180024 | Mitsubishi Electric | MUY-GP15VF | Single Split | 4 | 4.23 | 4.36 | 5.24 | 4.89 | 1857 | 501 | 25/06/2027
MELS-WKH-AC200010 | Mitsubishi Heavy Industries | SRC13YVS-W7 | Single Split | 4 | 3.49 | 4.31 | 6.01 | 5.33 | 1489 | 402 | 02/02/2029
MELS-WKH-AC220011 | Mitsubishi Heavy Industries | SCM60YS-W | Multi Split | 5 | 5.88 | 4.94 | 6.86 | 6.09 | 2196 | 593 | 21/02/2028
ELS-WKH-AC250027 | Mitsubishi Heavy Industries | FDC71YNA-W8 | Single Split | 4 | 7.07 | 3.96 | 5.67 | 4.99 | 3171 | 856 | 06/03/2028
ELS-WKH-AC240054 | Mitsubishi Heavy Industries | SRC18YYS-W8 | Single Split | 4 | 4.98 | 3.85 | 5.59 | 4.89 | 2313 | 624 | 25/08/2027
ELS-WKH-AC250129 | Mitsubishi Heavy Industries | SRC13YYS2-W8 | Single Split | 4 | 3.43 | 4.58 | 6.19 | 5.55 | 1419 | 383 | 23/12/2028
MELS-WKH-AC220042 | Mitsubishi Heavy Industries | FDC50YNA-W | Single Split | 4 | 5.32 | 3.86 | 5.66 | 4.94 | 2482 | 670 | 16/06/2028
ELS-WKH-AC240053 | Mitsubishi Heavy Industries | SRC10YYS-W8 | Single Split | 5 | 2.53 | 4.80 | 6.06 | 5.56 | 993 | 268 | 15/08/2027
MELS-WKH-AC200012 | Mitsubishi Heavy Industries | SRC10YVS-W7 | Single Split | 5 | 2.51 | 5.00 | 5.90 | 5.54 | 969 | 262 | 02/02/2029
ELS-WKH-AC240051 | Mitsubishi Heavy Industries | SRC13YYS-W8 | Single Split | 4 | 3.43 | 4.58 | 6.19 | 5.55 | 1413 | 382 | 15/08/2027
ELS-WKH-AC250028 | Mitsubishi Heavy Industries | FDC125YNA-W8 | Single Split | 4 | 10.94 | 3.97 | 5.66 | 4.98 | 4911 | 1326 | 09/03/2028
ELS-WKH-AC250131 | Mitsubishi Heavy Industries | SRC10YYS2-W8 | Single Split | 5 | 2.53 | 4.80 | 6.06 | 5.56 | 993 | 268 | 23/12/2028
ELS-WKH-AC240050 | Mitsubishi Heavy Industries | SCM30YS-W, DXM30YS-W | Multi Split | 5 | 5.95 | 4.77 | 6.38 | 5.74 | 2324 | 628 | 13/08/2027
ELS-WKH-AC240055 | Mitsubishi Heavy Industries | SRC24YYS-W8 | Single Split | 4 | 7.14 | 4.00 | 5.84 | 5.1 | 3159 | 853 | 01/09/2027
ELS-WKH-AC240052 | Mitsubishi Heavy Industries | SCM40YS-W, DXM40YS-W | Multi Split | 5 | 7.81 | 4.61 | 6.15 | 5.53 | 3165 | 855 | 15/08/2027
ELS-WKH-AC250132 | Mitsubishi Heavy Industries | SCM25YS-W, DXM25YS-W | Multi Split | 5 | 4.32 | 4.43 | 6.24 | 5.52 | 1805 | 487 | 25/12/2028
ELS-WKH-AC250128 | Mitsubishi Heavy Industries | SRC18YYS2-W8 | Single Split | 4 | 4.98 | 3.85 | 5.59 | 4.89 | 2313 | 624 | 23/12/2028
MELS-WKH-AC220012 | Mitsubishi Heavy Industries | SCM80YS-W | Multi Split | 5 | 8.03 | 5.02 | 6.43 | 5.87 | 3008 | 812 | 21/02/2028
ELS-WKH-AC250130 | Mitsubishi Heavy Industries | SRC24YYS2-W8 | Single Split | 4 | 7.14 | 4.00 | 5.84 | 5.1 | 3159 | 853 | 23/12/2028
MELS-WKH-AC200045 | Mitsubishi Heavy Industries | FDC71GNA-W8 | Single Split | 4 | 7.22 | 4.04 | 5.47 | 4.9 | 3253 | 878 | 27/08/2026
ELS-WKH-AC250030 | Mitsubishi Heavy Industries | FDC100YNA-W8 | Single Split | 4 | 9.64 | 4.22 | 5.75 | 5.14 | 4170 | 1126 | 11/03/2028
ELS-KOI-AC250065 | Novita | NAC14000UV-i | Portable | 1 | 4.00 | 3.01 | N.A | N.A | 3884 | 1049 | 13/04/2028
ELS-KOI-AC250050 | Novita | NAC12000UV-i | Portable | 2 | 3.43 | 3.27 | N.A | N.A | 3066 | 828 | 06/04/2028
ELS-KOI-AC260022 | Novita | NAC10000UV-i | Portable | 2 | 2.81 | 3.25 | N.A | N.A | 2511 | 678 | 22/02/2029
MELS-PAN-AC220036 | Panasonic | CU-4XU38YBZ, CU-4XU38YBZ-H | Multi Split | 5 | 7.93 | 4.92 | 6.36 | 5.78 | 3002 | 810 | 17/05/2028
MELS-PAN-AC210013 | Panasonic | CU-XU18XKZ | Single Split | 5 | 4.96 | 4.35 | 6.58 | 5.69 | 2026 | 547 | 22/02/2027
MELS-PAN-AC220034 | Panasonic | CU-4XU33YBZ, CU-4XU33YBZ-H | Multi Split | 5 | 6.96 | 4.88 | 6.10 | 5.61 | 2704 | 730 | 10/05/2028
MELS-PAN-AC210009 | Panasonic | CU-XU12XKZ | Single Split | 5 | 3.63 | 4.36 | 6.54 | 5.67 | 1472 | 397 | 22/02/2027
MELS-PAN-AC220025 | Panasonic | U-34PRH1Z5 | Single Split | 4 | 9.43 | 4.15 | 5.81 | 5.15 | 4187 | 1131 | 18/03/2028
MELS-PAN-AC210012 | Panasonic | CU-XU24XKZ | Single Split | 4 | 6.10 | 4.06 | 5.95 | 5.19 | 2640 | 713 | 22/02/2027
MELS-PAN-AC220024 | Panasonic | U-24PRH1Z5 | Single Split | 4 | 6.73 | 4.31 | 6.23 | 5.46 | 2821 | 762 | 18/03/2028
MELS-PAN-AC220035 | Panasonic | CU-3XU28YBZ, CU-3XU28YBZ-H | Multi Split | 5 | 6.55 | 4.91 | 6.22 | 5.7 | 2529 | 683 | 10/05/2028
MELS-PAN-AC220026 | Panasonic | U-43PRH1Z5 | Single Split | 4 | 10.70 | 3.84 | 5.64 | 4.92 | 5040 | 1361 | 18/03/2028
MELS-PAN-AC210008 | Panasonic | CU-PU24XKZ | Single Split | 4 | 6.22 | 3.73 | 5.76 | 4.95 | 2908 | 785 | 22/02/2027
MELS-PAN-AC220030 | Panasonic | CU-2XU20YBZ, CU-2XU20YBZ-H | Multi Split | 5 | 4.47 | 4.95 | 6.69 | 5.99 | 1682 | 454 | 08/05/2028
ELS-PAN-AC240058 | Panasonic | CU-XU24BKZ | Single Split | 4 | 6.13 | 3.70 | 5.86 | 5.0 | 2867 | 774 | 10/11/2027
ELS-PAN-AC240065 | Panasonic | CU-XU9BKZ | Single Split | 5 | 2.59 | 4.52 | 6.40 | 5.65 | 1022 | 276 | 26/11/2027
MELS-PAN-AC220023 | Panasonic | U-18PRH1Z5 | Single Split | 4 | 4.95 | 4.99 | 6.81 | 6.08 | 1840 | 497 | 18/03/2028
MELS-PAN-AC210011 | Panasonic | CU-XU9XKZ | Single Split | 5 | 2.72 | 5.06 | 6.29 | 5.8 | 1028 | 278 | 22/02/2027
ELS-PAN-AC240059 | Panasonic | CU-XU18BKZ | Single Split | 4 | 5.01 | 3.68 | 5.88 | 5.0 | 2359 | 637 | 12/11/2027
ELS-PAN-AC240057 | Panasonic | CU-XU12BKZ | Single Split | 4 | 3.46 | 3.60 | 5.77 | 4.9 | 1670 | 451 | 10/11/2027
ELS-ACL-AC230029 | PASECO | PWA-3300W | Casement | 2 | 1.31 | 3.81 | N.A | N.A | 993 | 268 | 19/11/2026
ELS-PRS-AC250044 | PRISM+ | PRCN28 | Multi Split | 5 | 6.30 | 4.88 | 5.97 | 5.53 | 2476 | 669 | 25/03/2028
ELS-PRS-AC250004 | PRISM+ | PRCZ36 | Multi Split | 5 | 7.55 | 5.21 | 5.88 | 5.61 | 2920 | 788 | 22/01/2028
ELS-PRS-AC250005 | PRISM+ | PRCZ28 | Multi Split | 5 | 6.50 | 5.46 | 6.07 | 5.83 | 2406 | 650 | 23/01/2028
ELS-PRS-AC250043 | PRISM+ | PRCN36 | Multi Split | 5 | 7.40 | 4.87 | 5.95 | 5.52 | 2920 | 788 | 23/03/2028
ELS-SAM-AC240022 | Samsung | AJ070DCJ4KF/SP | Multi Split | 5 | 7.21 | 4.99 | 5.84 | 5.5 | 2850 | 769 | 12/03/2027
ELS-SAM-AC250095 | Samsung | AR70F24D1JWX | Single Split | 4 | 6.03 | 4.10 | 5.88 | 5.17 | 2634 | 711 | 29/07/2028
ELS-SAM-AC250096 | Samsung | AR70F18D1JWX | Single Split | 4 | 5.35 | 4.07 | 5.69 | 5.04 | 2359 | 637 | 11/08/2028
ELS-SAM-AC250093 | Samsung | AR70F09D1JWX | Single Split | 5 | 2.67 | 4.85 | 6.49 | 5.83 | 1016 | 274 | 27/07/2028
ELS-SAM-AC240017 | Samsung | AJ045DCJ2KF/SP | Multi Split | 5 | 4.59 | 4.94 | 6.25 | 5.73 | 1775 | 479 | 22/02/2027
ELS-SAM-AC240023 | Samsung | AJ065DCJ3KF/SP | Multi Split | 5 | 6.69 | 4.88 | 5.92 | 5.5 | 2698 | 728 | 12/03/2027
ELS-SAM-AC250094 | Samsung | AR70F12D1JWX | Single Split | 5 | 3.24 | 4.49 | 6.24 | 5.54 | 1320 | 356 | 29/07/2028
ELS-CHY-AC250035 | SONA | SCM 6228 | Casement | 2 | 2.06 | 3.81 | N.A | N.A | 1612 | 435 | 16/03/2028
ELS-CHY-AC250054 | SONA | SACN 6283 | Portable | 1 | 3.40 | 3.02 | N.A | N.A | 3270 | 883 | 06/04/2028
ELS-CHY-AC250059 | SONA | SCM 6226 | Casement | 2 | 2.10 | 3.79 | N.A | N.A | 1618 | 437 | 09/04/2028
ELS-CHY-AC250055 | SONA | SACN 6282 | Portable | 2 | 2.53 | 3.26 | N.A | N.A | 2278 | 615 | 06/04/2028
ELS-CHY-AC250060 | SONA | SACN 6284 | Portable | 1 | 4.00 | 3.01 | N.A | N.A | 3884 | 1049 | 09/04/2028
ELS-ACL-AC250041 | TCL | TAC-12CPD/N*, TAC-12CPD/NZ | Portable | 2 | 3.43 | 3.27 | N.A | N.A | 3037 | 820 | 20/03/2028
ELS-ACL-AC250033 | TCL | TAC-09CPD/DM*, TAC-09CPD/DM4 | Portable | 2 | 2.53 | 3.26 | N.A | N.A | 2278 | 615 | 13/03/2028
ELS-FEL-AC240037 | TCL | FMA-27I4HD/DVO | Multi Split | 5 | 7.16 | 4.90 | 6.10 | 5.62 | 2780 | 751 | 20/05/2027
ELS-FEL-AC240038 | TCL | FMA-18I3HD/DVO | Multi Split | 5 | 5.22 | 4.92 | 6.09 | 5.62 | 2050 | 553 | 26/05/2027
ELS-ACL-AC250039 | TCL | TAC-14CPD/N*, TAC-14CPD/NZ | Portable | 1 | 4.00 | 3.01 | N.A | N.A | 3884 | 1049 | 20/03/2028
ELS-ACL-AC250042 | TCL | TAC-12CPD/DM*, TAC-12CPD/DM4 | Portable | 1 | 3.39 | 3.02 | N.A | N.A | 3270 | 883 | 20/03/2028
MELS-SRI-AC220065 | Tecno | TAC 823i | Casement | 2 | 2.19 | 3.90 | N.A | N.A | 1641 | 443 | 01/08/2028
MELS-CAR-AC210021 | Toshiba | RAS-4M41U2ACVG-SG | Multi Split | 5 | 6.64 | 5.44 | 6.62 | 6.15 | 2377 | 642 | 23/03/2027
MELS-CAR-AC190053 | Toshiba | RAS-5M51U2ACVG-SG | Multi Split | 5 | 8.31 | 4.95 | 5.88 | 5.51 | 3282 | 886 | 20/11/2028
ELS-CAR-AC250101 | Toshiba | RAV-GE1302AP-SG | Single Split | 5 | 3.46 | 4.43 | 6.23 | 5.51 | 1396 | 377 | 19/08/2028
ELS-CAR-AC250104 | Toshiba | RAV-GE1001AP-SG | Single Split | 4 | 2.52 | 4.82 | 6.21 | 5.65 | 999 | 270 | 11/09/2028
ELS-CAR-AC250100 | Toshiba | RAV-GE1802AP-SG | Single Split | 5 | 4.99 | 4.47 | 6.19 | 5.5 | 2021 | 546 | 19/08/2028
MELS-CAR-AC190047 | Toshiba | RAS-3M31U2ACVG-SG | Multi Split | 5 | 6.03 | 4.97 | 6.19 | 5.7 | 2318 | 626 | 20/11/2028
ELS-CAR-AC250098 | Toshiba | RAV-GE1002AP-SG | Single Split | 5 | 2.50 | 4.80 | 5.99 | 5.51 | 987 | 266 | 18/08/2028
MELS-CAR-AC200007 | Toshiba | RAV-GE3601AP-SG | Single Split | 4 | 9.02 | 4.30 | 5.67 | 5.12 | 3895 | 1052 | 02/02/2029
ELS-CAR-AC250053 | Toshiba | RAS-5M51P2ACVG-SG | Multi Split | 5 | 8.32 | 5.22 | 6.21 | 5.81 | 3119 | 842 | 06/04/2028
ELS-CAR-AC250099 | Toshiba | RAV-GE2502AP-SG | Single Split | 5 | 6.15 | 4.38 | 6.25 | 5.5 | 2505 | 676 | 19/08/2028
MELS-CAR-AC200009 | Toshiba | RAV-GE2501AP-SG | Single Split | 4 | 6.14 | 4.35 | 6.05 | 5.37 | 2599 | 702 | 02/02/2029
ELS-CAR-AC250057 | Toshiba | RAS-2M21P2ACVG-SG | Multi Split | 5 | 4.58 | 5.25 | 6.56 | 6.04 | 1688 | 456 | 08/04/2028
ELS-CAR-AC250061 | Toshiba | RAS-4M41P2ACVG-SG | Multi Split | 5 | 6.60 | 5.48 | 6.51 | 6.1 | 2400 | 648 | 10/04/2028
MELS-CAR-AC190046 | Toshiba | RAS-2M21U2ACVG-SG | Multi Split | 5 | 4.51 | 5.13 | 6.18 | 5.76 | 1717 | 464 | 20/11/2028
ELS-CAR-AC250111 | Toshiba | RAV-GE3602AP-SG | Single Split | 4 | 8.30 | 3.86 | 5.63 | 4.92 | 3837 | 1036 | 06/11/2028
ELS-CAR-AC250119 | Toshiba | RAV-GE4202AP-SG | Single Split | 4 | 10.99 | 3.90 | 5.55 | 4.89 | 5022 | 1356 | 24/11/2028
MELS-CAR-AC200006 | Toshiba | RAV-GE1801AP-SG | Single Split | 4 | 5.03 | 4.30 | 6.07 | 5.36 | 2155 | 582 | 02/02/2029
ELS-CAR-AC250062 | Toshiba | RAS-3M31P2ACVG-SG | Multi Split | 5 | 6.03 | 4.99 | 6.31 | 5.78 | 2318 | 626 | 10/04/2028
ELS-CAR-AC250097 | Toshiba | RAV-GE1301AP-SG | Single Split | 4 | 3.51 | 4.31 | 5.73 | 5.16 | 1530 | 413 | 14/08/2028
ELS-STR-AC240032 | Tosot | TR32SAC32CUD | Multi Split | 5 | 8.44 | 4.94 | 6.23 | 5.71 | 3253 | 878 | 27/03/2027
ELS-STR-AC240033 | Tosot | TR32SAC28CUD | Multi Split | 5 | 7.37 | 4.98 | 6.07 | 5.63 | 2803 | 757 | 27/03/2027
ELS-STR-AC240024 | Tosot | TR32SAC18CUD | Multi Split | 5 | 5.39 | 4.97 | 6.50 | 5.89 | 2026 | 547 | 12/03/2027
ELS-STR-AC240025 | Tosot | TR32SAC21CUD | Multi Split | 5 | 6.30 | 4.88 | 6.01 | 5.56 | 2459 | 664 | 14/03/2027
ELS-WSE-AC250011 | WSE | TKF-100W/BP-M | Multi Split | 5 | 10.21 | 4.90 | 6.11 | 5.63 | 3942 | 1064 | 30/01/2028